## Sheet1
Organization 1 space needs assessment | [6 empty] | Organization 2 - Media Lab
Priority |  | Area | sq/f | notes
1 | A | Reception | 500 | Gallery, Reception, Lobby, Bar, Small Events
2 | B | Library | 1000 | Climate Control, archival conditions, storing video archives and technical archives, smart shelving system needed, on concrete slab
2 | C | Digitization station | 100 | digitizing materials, archival conditions, climate control
2 | D | Machine Room | 100 | climate control, mostly for cooling equipment, sound proofing for mostly fan noise
5 | E | Kitchen | 500 | near bar, need lunch room that could be part of common lounge
3 | F | Bathroom (3) | 150 | 2 for events, 1 for staff. Need shower in staff bathroom. All accessible.
2 | G | Micro Cinema | 400 | isolated power, acoustic treatment, a/v hookups, 7.1 sound, projector mount, screen, etc.
3 | H | Administration offices | 800 | admin area - consult with organization 1 staff about concept for this space. Separation of public/staff
3 | I | Back offices | 500 | flex space, small meeting rooms
| J | Electronics |  | doen't exist as now moved into classroom
1 | K | Classroom | 400 | minimum 8 workstations. Storage.
1 | L | Tech Area |  | office for technician near tech gear - incl. in admin office
1 | M | Technical Equipment Area | 250 | storage of various cables and smaller technical equipment
1 | N | Tool Crib | 250 | storage of installing tools
1 | O | Studio | 2000 | Double height. 18' minimum. Free span. Easy loading access.
2 | P | Board Room | 200 | for ~15 ppl
2 | Q | Partner Offices | 2000 | Organization 3(200), Organization 4 (200), Organization 5 (1100), s/f needed may be less depending on usability of common space
3 | R | Black Box | 800 | rehearsal, creation, development studio. Attached to audio suite | Administratiive Offices | 1300
1 | S | Audio Suite | 150 | sound proof, acoustic treatment, isolated power, audio station | Partner Offices | 2000
| T | Video Out |  | office - included in office admin | Common Space & Reception | 1090
1 | U | Hot Desks (8) | 240 | 8 rooms with doors and/or open concept? | Studios & Micro Cinema | 3200
3 | V | Storage | 500 | Storage near Studio, large door(s) | Library/Archival Stations | 1100
2 | W | Cleaning Cupboard | 25 | mess sink, storage for cleaning supplies | Classroom | 400
3 | V | Artist apt/space | 150 |  | Tech/Storage | 1250
[5 empty] | Kitchen/Bathrooms/Cleaning | 675
|  | TOTAL SQ/F | 11015 |  | TOTAL SQ/F | 11015
1=not flexible, 5=flexible.
| Line # | Notes
| 12 | changed 300 to 400
| 13 | changed 1000 to 800
| 17 | Include in Line 18/19. Do not add sq ft.
| 22 | changed from 1500 to 2000
| 25 | deleted q ft - to be included with Line 3 (Digitization). NOTE: Digitization stn, machine rm and distribution office all together at 400 sq total… connected.
| 7 | change 1500 to 1000
| 29 | add Artist apt/space = 150 sq ft.